## Slide 1: CAD System Deep Learning Approach
Tewodros Arega, Abdullah Thabit

## Slide 2: Project Objectives
Build a CAD system to address two main problems:
  Skin Lesion Classification
    6000 images (half benign and half other classes)
  Histopathology Classification
    29494 images (half benign and half malignant)

## Slide 3: CAD System Framework
Feature Extraction
Classification
Pre-processing
Data Preparation
Benign
Malignant
Deep Learning Model

## Slide 4: Histopathology Classification
The models Performed about the same
VGG16 (acc) = 77.9%
Resnet50= 78.1%
Training Loss is high meaning the models couldn't learn the dataset very well
First Experiment: Transfer Learning
  VGG16
  Resnet50
  Initial Hyperparameters:
    Optimizer: Adadelta
    Lr= 0.001
    Epochs = 50

## Slide 5: Histopathology Classification
VGG16 = 80%
Resnet50= 81%
Densenet161 = 84%
Training loss now goes very low, but there is big over fitting from the first epochs!!
Switch to fine tuning:
  Vgg16
  Resnet50
  Densenet161

## Slide 6: Histopathology Classification
Apply Augmentation:
  Contrast and Saturation
  Rotation
  Flipping

## Slide 7: Histopathology Classification
The models Performance increased
Vgg16 = 86%
Resnet34 = 86%
Resnet50 = 86%
Densenet161 = 87%
InceptionV3 = 56% (failed)
Overfitting reduced, but still present
Apply Augmentation:
  Vgg16
  Densenet161
  Resnet50
  Resnet34
  InceptionV3

## Slide 8: Histopathology Classification
Apply Stain Normalization:
Macenko stain normalization 'A method for normalizing histology slides for quantitative analysis’

## Slide 9: Histopathology Classification
The models Performance decreased
Without Augmentation = 82%
With Augmentation = 84%
Stain normalization led to corrupting the features extracted with the deep learning model, and led to a worse performance
Apply Stain Normalization with two setups:
  With Augmentation
  Without Augmentation
  Applied on Resnet34

## Slide 10: Histopathology Classification
Best parameters found:
Optimizer = SGD
Lr = 0.001
Momentum = 0.9
Lr_scheduler = No
Batch size = 16
Resnet34 = 88.9%
SGD with these parameters converge faster and to a lower loss value, but at the expense of oscillation in loss function!
Hyperparameter tuning:
  Applied on Resnet34
Parameters | Range of options
Optimizer | Adadelta, Adam, SGD
Lr | 0.001 – 0.00001
Weight decay(Adam) | 0.01 – 0.0001
Momentum (SGD) | 0.5 – 0.9
Lr_scheduler | Factor=0.5,0.9 Patience =2, 5
Batch size | 6, 16, 32, 64

## Slide 11: Histopathology Classification
Best model: VGG19
Al models have higher sensitivity than specificity with VGG19 having a balanced sensitivity to specificity ratio and a high accuracy
Apply best parameters on all networks:
  MobileNetV2
  ResNet18
  ResNet34
  ResNet50
  DenseNet121
  DenseNet161
  Vgg16
  Vgg19
Model | Accuracy(%) | Sensitivity(%) | Specificity(%)
MobileNetV2 | 89.0 | 91.5 | 86.8
ResNet18 | 88.2 | 95.0 | 83.2
ResNet34 | 89.0 | 91.6 | 86.5
ResNet50 | 88.0 | 91.7 | 85.0
DenseNet121 | 89.0 | 91.8 | 86.5
DenseNet161 | 87.9 | 90.3 | 85.6
Vgg16 | 90.8 | 93.2 | 88.7
Vgg19 | 90.5 | 90.7 | 90.2

## Slide 12: Histopathology Classification
Best Model: VGG19
Chart: Validation Accuracy
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26
densenet121 | 0 | 0.86974 | 0.88713 | 0.83893 | 0.89018 | 0.8734 | 0.88286 | 0.85326 | 0.88072 | 0.8673 | 0.88804 | 0.86364 | 0.83618 | 0.88682 | 0.88194
densenet161 | 0 | 0.87889 | 0.84411 | 0.89262 | 0.88835 | 0.85754 | 0.88499 | 0.88316 | 0.86882 | 0.89445 | 0.86638 | 0.89048
MobileNetv2 | 0 | 0.87309 | 0.88225 | 0.87401 | 0.87889 | 0.88194 | 0.89201 | 0.89079 | 0.89079 | 0.86364 | 0.85723 | 0.87157 | 0.88804 | 0.88133 | 0.87492 | 0.87614 | 0.87736 | 0.89018 | 0.88133
ResNet18 | 0 | 0.83374 | 0.83588 | 0.85937 | 0.88347 | 0.88316 | 0.86394 | 0.87096 | 0.8795 | 0.89079 | 0.87858 | 0.87889 | 0.88987 | 0.88591 | 0.86364 | 0.88072 | 0.86699 | 0.88225 | 0.88164 | 0.88621 | 0.87279 | 0.87645 | 0.88652 | 0.8615 | 0.85723 | 0.88743 | 0.8798 | 0.87431
Resnet34 | 0 | 0.85448 | 0.87736 | 0.88804 | 0.88957 | 0.8795 | 0.88072 | 0.88896 | 0.88926 | 0.88987 | 0.89597 | 0.87706 | 0.89567 | 0.87431 | 0.86699
ResNet50 | 0 | 0.88072 | 0.87919 | 0.86211 | 0.8737 | 0.88469 | 0.86059 | 0.87309 | 0.8435 | 0.87645 | 0.87157 | 0.8734
Vgg16 | 0 | 0.88469 | 0.88987 | 0.88499 | 0.88774 | 0.89262 | 0.89567 | 0.88377 | 0.90848 | 0.89933 | 0.88316 | 0.88987 | 0.86577 | 0.90604 | 0.90451 | 0.90024 | 0.9094 | 0.88499 | 0.89018
Vgg19 | 0 | 0.85906 | 0.8917 | 0.90329 | 0.90543 | 0.90146 | 0.88774 | 0.8737 | 0.89689 | 0.88896 | 0.89109 | 0.90635 | 0.8917 | 0.87157 | 0.87187
Chart: Validation Loss
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28
densenet121 | 1 | 0.2934 | 0.28546 | 0.37799 | 0.28063 | 0.35939 | 0.30942 | 0.4077 | 0.31191 | 0.36397 | 0.33034 | 0.3713 | 0.48532 | 0.33294 | 0.32674
densenet161 | 1 | 0.28917 | 0.3701 | 0.29523 | 0.29948 | 0.36646 | 0.31791 | 0.31933 | 0.3713 | 0.32907 | 0.40379 | 0.36507
MobileNetv2 | 1 | 0.27946 | 0.28026 | 0.2964 | 0.29053 | 0.28058 | 0.26332 | 0.27272 | 0.26043 | 0.33166 | 0.34494 | 0.29869 | 0.27833 | 0.29475 | 0.30406 | 0.31352 | 0.30903 | 0.26964 | 0.30045
ResNet18 | 1 | 0.3451 | 0.38003 | 0.33174 | 0.29158 | 0.28929 | 0.34749 | 0.32125 | 0.2819 | 0.28163 | 0.3197 | 0.35889 | 0.28157 | 0.30672 | 0.3378 | 0.31053 | 0.36757 | 0.27858 | 0.31182 | 0.30351 | 0.34641 | 0.33259 | 0.29102 | 0.41982 | 0.38249 | 0.28321 | 0.36925 | 0.32731
Resnet34 | 1 | 0.334 | 0.28465 | 0.27958 | 0.26295 | 0.27231 | 0.26946 | 0.27978 | 0.27491 | 0.28922 | 0.28132 | 0.3335 | 0.27215 | 0.38857 | 0.38106
ResNet50 | 1 | 0.2811 | 0.28196 | 0.3037 | 0.30701 | 0.30279 | 0.34014 | 0.33649 | 0.41063 | 0.32159 | 0.33518 | 0.34376
Vgg16 | 1 | 0.28784 | 0.29543 | 0.2834 | 0.28552 | 0.27521 | 0.27348 | 0.33557 | 0.24442 | 0.30329 | 0.36538 | 0.30501 | 0.37013 | 0.28986 | 0.28043 | 0.27689 | 0.25841 | 0.32687 | 0.31999
Vgg19 | 1 | 0.32355 | 0.26053 | 0.23648 | 0.22668 | 0.25979 | 0.31507 | 0.3297 | 0.2643 | 0.29978 | 0.28888 | 0.25617 | 0.26778 | 0.36594 | 0.40159
Training Metrics | 
Accuracy | 93.7%
Per-class Accuracy | 93.3% , 93.9%
Validation Metrics | 
Accuracy | 90.5%
Per-class Accuracy | 90.3% , 90.8%

## Slide 13: Histopathology Classification
Best Model: VGG19